## Page 1 Constructions
NEAP SURVEY FORM
| Name: | [23 empty] | Assessor / BER reg. no.
| Address: | [24 empty] | Survey Date:
[6 empty] | Eircode | [10 empty] | MPRN | [8 empty] | Building Type
|  | Age: Building | [8 empty] | Age: Extension 1 | [11 empty] | Age:Extension 2
|  | Evidence 1 |  |  |  |  | Evidence 2 |  |  |  | No Extension | [11 empty] | No Extension | [5 empty] | number of storeys
[11 empty] | Evidence 1 | [5 empty] | Evidence 2 | [5 empty] | Evidence 1 |  |  |  | Evidence 2
|  | Air Test ? | [8 empty] | Thermal Bridging ? | [11 empty] | Building Type(s) | [6 empty] | Type of Rating
|  |  | Default 25 | [8 empty] | Default | [18 empty] | new-provisional
|  |  | Cert available | [8 empty] | Data available | [18 empty] | new-final building
existing building
|  | Wall construction Main Wall Type 1* | [11 empty] | Roof Construction: Main Roof* | [12 empty] | Ground Floor Construction: Main Floor*
as built
cavity fill
external
internal
|  | Wall construction Wall Type 2* | [11 empty] | Roof Construction: Roof Type 2* | [12 empty] | Ground Floor Construction: Floor Type 2*
|  | Wall construction Wall Type 3* | [11 empty] | Roof Construction: Roof Type 3* | [12 empty] | Internal Floor Construction: Floor Type 3*
|  | Wall construction Wall Type 4* | [11 empty] | Construction: Type * | [12 empty] | Construction: Type *
Window Construction: Wall windows 1 | [11 empty] | Window Construction: Roof windows 1 | [14 empty] | Door Construction: Personnel door(s)*
| Non-Default Data? | [5 empty] | N |  |  | Y |  |  | Non-Default Data? | [6 empty] | N |  |  | Y
| Material |  |  | Alu |  | PVC |  |  | W |  |  |  | Material |  |  | Alu |  |  | PVC |  |  | W |  | None |  |  |  | Door make-up Type 1:
| Thermal break |  |  |  | N |  |  | Y |  |  |  |  | Thermal break |  |  |  |  | N |  |  | Y
| Low E |  |  |  | N |  |  | Y |  |  |  |  | Low E |  |  |  |  | N |  |  | Y
| Argon Gas |  |  |  | N |  |  | Y |  |  |  |  | Argon Gas |  |  |  |  | N |  |  | Y | [6 empty] | Door make-up Type 2:
| Glazing make-up : | [11 empty] | Glazing make-up :
Window Construction: Wall windows 2 | [11 empty] | Window Construction: Wall windows 2 | [14 empty] | Door Construction: Vehicle Access door(s)
| Non-Default Data? | [5 empty] | N |  |  | Y |  |  | Non-Default Data? | [6 empty] | N |  |  | Y
| Material |  |  | Alu |  | PVC |  |  | W |  |  |  | Material |  |  | Alu |  |  | PVC |  |  | W | [5 empty] | Door make-up Type 1:
| Thermal break |  |  |  | N |  |  | Y |  |  |  |  | Thermal break |  |  |  |  | N |  |  | Y
| Low E |  |  |  | N |  |  | Y |  |  |  |  | Low E |  |  |  |  | N |  |  | Y
| Gas Air / Other |  |  |  | A |  |  | O |  |  |  |  | Gas Air / Other |  |  |  |  | A |  |  | O | [6 empty] | Door make-up Type 2:
| Glazing make-up : | [11 empty] | Glazing make-up :
*note:Actual U-value should be calculated and used if the wall /roof /floor construction detail is available on site or through documentation.
Substantiation supporting the U-value calculation is required. Non default U values should be recorded along with relevant calculation in Assessor's records
Reprint this page as often as required (e.g. Multiple extensions or more than four wall types etc)

## Page 2 Heating Only
HVAC System Heating ONLY
HVAC SYSTEM TYPE 1 - HEATING ONLY
HVAC System | [15 empty] | Heating System Fuel | [7 empty] | Heating Source (Local Heating)
| [Ventilation can be applied in a zone if required] | [12 empty] | mains gas |  |  | biomass | [7 empty] | Direct OR storage electric heater
| Local Heating Systems (heat source in zone) | [12 empty] | LPG |  |  | waste heat | [7 empty] | Room heater (Open fire, stove)
|  | Other local room heater - fanned (b) | [11 empty] | Biogas |  |  | Anthracite | [7 empty] | Flued Radiant heater
|  | Other local room heater - unfanned | [11 empty] | Oil |  |  | Smokeless Fuel | [7 empty] | Air heater
|  | Unflued radiant heater (a) | [11 empty] | electricity |  |  | Dual Fuel Appliances | [7 empty] | Heat pump |  |  | Type:
|  | Flued radiant heater (a) | [11 empty] | Coal |  |  | Uses CHP | [7 empty] | Unflued radiant heater
|  | Multiburner radiant heaters (a) | [11 empty] | Manufacturer / make / model number | [14 empty] | ECA/ETL,(ACA) Listed?
|  | Flued forced-convection air heaters | [10 empty] | Boiler/ Heater : | [16 empty] | Yes | No
|  | Unflued forced-convection air heaters | [10 empty] | AHU:
| Radiant Efficiency (a) |  |  |  |  | Aux Energy (b) | [6 empty] | Other :
|  | Default |  |  |  |  | Default | [5 empty] | Heating System Efficiency
| Non-Default Value |  |  |  |  | Non-Default Value = | [8 empty] | Default before 1998 | [6 empty] | Open Fire Default
| = | [7 empty] | kWh/kWh | [5 empty] | Default post 1998 | [6 empty] | Non-Default Value
| Central Heating Systems [heating by water] | [10 empty] | HVAC Metering Provision | [11 empty] | Heating Source (Central Heating)
|  | Central heating using water: radiators (c) | [11 empty] | Yes, Submetered |  |  |  |  | Yes, M&T Alarm | [5 empty] | LTHW Boiler
|  | Central heating using water: convectors (b), (c) | [11 empty] | No, Submetered |  |  |  |  | No, M&T Alarm | [5 empty] | MTHW boiler
|  | Central heating using water: floor heating (c) | [22 empty] | HTHW boiler
[13 empty] | Lighting Metering Provision | [11 empty] | Heat pump air source
|  | Aux Energy (b) |  |  |  | Variable Speed Pumps? (c) | [7 empty] | Yes, Submetered |  |  |  |  | Yes, M&T Alarm | [5 empty] | Heat pump ground / water source
|  |  | Default |  |  |  | No Const. Speed | [6 empty] | No, Submetered |  |  |  |  | No, M&T Alarm | [5 empty] | District heating
|  |  |  | kWh/kWh |  |  | Yes LTHW | [5 empty] | Ventilation Heat Recovery |  |  |  |  | (e) or by zone | [7 empty] | Heat Recovery Seasonal Efficiency
[5 empty] | Sensor: |  |  | P |  | S | M |  |  | Plate heat exchanger | [5 empty] | Thermal wheel | [6 empty] | Default
| Central Heating Systems [heating by air] (d),(e) | [12 empty] | Heat-pipes | [5 empty] | Run around coil | [6 empty] | Non Default Value |  |  |  |  | ``
|  | Central heating using air distribution | [10 empty] | Variable Heat Recovery Efficiency ? | [8 empty] | Specific Fan Power
| Ventilation is included in this system | [12 empty] | Yes | [8 empty] | Default
|  | Ductwork Leakage (d) |  |  | AHU Leakage (d) | [8 empty] | No | [8 empty] | SFP: |  |  |  |  | W/l/s
|  |  | Default |  |  | Default | [6 empty] | System Controls
|  |  | Non Default |  |  | Non Default | [7 empty] | Central Time Control | [6 empty] | Local Temperature Control
|  | Class: |  |  | Class: | [8 empty] | Optimum Start/ Stop Control | [6 empty] | Weather Compensation Control
Local Time Control
HVAC SYSTEM TYPE 2 - HEATING ONLY
HVAC System | [15 empty] | Heating System Fuel | [7 empty] | Heating Source (Local Heating)
| [Ventilation can be applied in a zone if required] | [12 empty] | mains gas |  |  | biomass | [7 empty] | Direct OR storage electric heater
| Local Heating Systems (heat source in zone) | [12 empty] | LPG |  |  | waste heat | [7 empty] | Room heater (Open fire, stove)
|  | Other local room heater - fanned (b) | [11 empty] | Biogas |  |  | Anthracite | [7 empty] | Flued Radiant heater
|  | Other local room heater - unfanned | [11 empty] | Oil |  |  | Smokeless Fuel | [7 empty] | Air heater
|  | Unflued radiant heater (a) | [11 empty] | electricity |  |  | Dual Fuel Appliances | [7 empty] | Heat pump |  |  | Type:
|  | Flued radiant heater (a) | [11 empty] | Coal |  |  | Uses CHP | [7 empty] | Unflued radiant heater
|  | Multiburner radiant heaters (a) | [11 empty] | Manufacturer / make / model number | [14 empty] | ECA/ETL,(ACA) Listed?
|  | Flued forced-convection air heaters | [10 empty] | Boiler/ Heater : | [16 empty] | Yes | No
|  | Unflued forced-convection air heaters | [10 empty] | AHU:
| Radiant Efficiency (a) |  |  |  |  | Aux Energy (b) | [6 empty] | Other :
|  | Default |  |  |  |  | Default | [5 empty] | Heating System Efficiency
| Non-Default Value |  |  |  |  | Non-Default Value = | [8 empty] | Default before 1998 | [6 empty] | Open Fire Default
| = | [7 empty] | kWh/kWh | [5 empty] | Default post 1998 | [6 empty] | Non-Default Value
| Central Heating Systems [heating by water] | [10 empty] | HVAC Metering Provision | [11 empty] | Heating Source (Central Heating)
|  | Central heating using water: radiators (c) | [11 empty] | Yes, Submetered |  |  |  |  | Yes, M&T Alarm | [5 empty] | LTHW Boiler
|  | Central heating using water: convectors (b), (c) | [11 empty] | No, Submetered |  |  |  |  | No, M&T Alarm | [5 empty] | MTHW boiler
|  | Central heating using water: floor heating (c) | [22 empty] | HTHW boiler
[13 empty] | Lighting Metering Provision | [11 empty] | Heat pump air source
|  | Aux Energy (b) |  |  |  | Variable Speed Pumps? (c) | [7 empty] | Yes, Submetered |  |  |  |  | Yes, M&T Alarm | [5 empty] | Heat pump ground / water source
|  |  | Default |  |  |  | No Const. Speed | [6 empty] | No, Submetered |  |  |  |  | No, M&T Alarm | [5 empty] | District heating
|  |  |  | kWh/kWh |  |  | Yes LTHW | [5 empty] | Ventilation Heat Recovery |  |  |  |  | (e) | [7 empty] | Heat Recovery Seasonal Efficiency
[5 empty] | Sensor: |  |  | P |  | S | M |  |  | Plate heat exchanger | [5 empty] | Thermal wheel | [6 empty] | Default
| Central Heating Systems [heating by air] (d),(e) | [12 empty] | Heat-pipes | [5 empty] | Run around coil | [6 empty] | Non Default Value |  |  |  |  | ``
|  | Central heating using air distribution | [10 empty] | Variable Heat Recovery Efficiency ? | [8 empty] | Specific Fan Power
[14 empty] | Yes | [8 empty] | Default
|  | Ductwork Leakage (d) |  |  | AHU Leakage (d) | [8 empty] | No | [8 empty] | SFP: |  |  |  |  | W/l/s
|  |  | Default |  |  | Default | [6 empty] | System Controls
|  |  | Non Default |  |  | Non Default | [7 empty] | Central Time Control | [6 empty] | Local Temperature Control
|  | Class: |  |  | Class: | [8 empty] | Optimum Start/ Stop Control | [6 empty] | Weather Compensation Control
Local Time Control
Replicate this page as required if there are more than two Heating Only HVAC systems. See other worksheet for systems that include cooling.

## Page 3 Heating & Cooling
HVAC System Heating AND Cooling
HVAC SYSTEM TYPE 3 - HEATING and COOLING
HVAC System | [15 empty] | Heating System Fuel | [6 empty] | Heating Source
[14 empty] | mains gas |  |  | biomass | [6 empty] | LTHW Boiler
| Local Cooling System (Cooling coil in zone) | [12 empty] | LPG |  |  | waste heat | [6 empty] | MTHW boiler
|  | Split or mulit-split system |  |  |  | * | [7 empty] | Biogas |  |  | Anthracite | [6 empty] | HTHW boiler
|  | Single Room Cooling system |  |  |  |  | * | [6 empty] | Oil |  |  | Smokeless Fuel | [6 empty] | Heat pump air source
|  | Fan Coil Units |  | ** | [9 empty] | electricity |  |  | Dual Fuel Appliances | [6 empty] | Heat pump ground / water source
|  | Water Loop Heatpump |  |  | [RARE] | [8 empty] | Coal |  |  | Uses CHP | [6 empty] | District heating
[14 empty] | Manufacturer / make / model number | [15 empty] | ECA/ETL,
| Central Cooling System (Cooling coil on AHU) | [11 empty] | Boiler : | [16 empty] | (ACA) Listed?
|  | Constant volume system (fixed fresh air rate) | [10 empty] | AHU: | [17 empty] | Yes | No
|  | Constant volume system (variable fresh air rate) | [10 empty] | Chiller or Indoor/Outdoor Units
|  | Terminal reheat (constant volume) | [10 empty] | Heating System Efficiency | [13 empty] | Cooling System Efficiency
|  | Dual duct (constant volume) | [12 empty] | Default before 1998 | [9 empty] | EER Default | [5 empty] | SEER Default
|  | Chilled ceilings or passive chilled beams | [12 empty] | Default post 1998 | [9 empty] | EER Value : | [5 empty] | SEER Value :
|  | Active chilled beams | [12 empty] | Non-Default Value
|  | Single-duct VAV | [9 empty] | HVAC Metering Provision | [10 empty] | Cooling Source
|  | Dual-duct VAV | [11 empty] | Yes, Submetered |  |  |  | Yes, M&T Alarm | [5 empty] | Heatpump (electric)
|  | Indoor packaged cabinet (VAV) | [11 empty] | No, Submetered |  |  |  | No, M&T Alarm | [5 empty] | Heatpump (gas/ oil)
|  | Multizone (hot deck/cold deck) | [5 empty] | [RARE] |  |  |  |  | Lighting Metering Provision | [10 empty] | Air cooled chiller
|  | Induction system |  | [RARE] | [9 empty] | Yes, Submetered |  |  |  | Yes, M&T Alarm | [5 empty] | Water cooled chiller
[14 empty] | No, Submetered |  |  |  | No, M&T Alarm | [5 empty] | Remote-condenser chiller
| Applied in zones tab: |  |  |  |  | Variable Speed Pumps? (c) | [6 empty] | Ventilation Heat Recovery | [12 empty] | Heat Recovery Seasonal Efficiency
| * Ventilaton | [6 empty] | No Const. Speed | [5 empty] | Plate heat exchanger |  |  |  |  | Thermal wheel | [7 empty] | Default
| ** Terminal Unit SFP | [6 empty] | Yes LTHW & CHW | [5 empty] | Heat-pipes |  |  |  |  | Run around coil | [7 empty] | Non Default Value
[5 empty] | Sensor: |  |  |  | P | S | M |  | Variable Heat Recovery Efficiency ? | [7 empty] | Specific Fan Power
[14 empty] | Yes | [7 empty] | Default
|  | Ductwork Leakage |  |  | AHU Leakage | [8 empty] | No | [7 empty] | SFP: | [5 empty] | W/l/s
|  |  | Default |  |  | Default | [6 empty] | System Controls | [15 empty] | Mixed Mode Operation
|  |  | Non Default |  |  | Non Default | [7 empty] | Central Time Control | [5 empty] | Local Temperature Control | [10 empty] | Yes
|  | Class: |  |  | Class: | [8 empty] | Optimum Start/ Stop Control | [5 empty] | Weather Compensation Control | [10 empty] | No
Local Time Control
HVAC SYSTEM TYPE 4 - HEATING and COOLING
HVAC System | [15 empty] | Heating System Fuel | [6 empty] | Heating Source
[14 empty] | mains gas |  |  | biomass | [6 empty] | LTHW Boiler
| Local Cooling System (Cooling coil in zone) | [12 empty] | LPG |  |  | waste heat | [6 empty] | MTHW boiler
|  | Split or mulit-split system |  |  |  | * | [7 empty] | Biogas |  |  | Anthracite | [6 empty] | HTHW boiler
|  | Single Room Cooling system |  |  |  |  | * | [6 empty] | Oil |  |  | Smokeless Fuel | [6 empty] | Heat pump air source
|  | Fan Coil Units |  | ** | [9 empty] | electricity |  |  | Dual Fuel Appliances | [6 empty] | Heat pump ground / water source
|  | Water Loop Heatpump |  |  | [RARE] | [8 empty] | Coal |  |  | Uses CHP | [6 empty] | District heating
[14 empty] | Manufacturer / make / model number | [15 empty] | ECA/ETL,
| Central Cooling System (Cooling coil on AHU) | [11 empty] | Boiler : | [16 empty] | (ACA) Listed?
|  | Constant volume system (fixed fresh air rate) | [10 empty] | AHU: | [17 empty] | Yes | No
|  | Constant volume system (variable fresh air rate) | [10 empty] | Chiller or Indoor/Outdoor Units
|  | Terminal reheat (constant volume) | [10 empty] | Heating System Efficiency | [13 empty] | Cooling System Efficiency
|  | Dual duct (constant volume) | [12 empty] | Default before 1998 | [9 empty] | EER Default | [5 empty] | SEER Default
|  | Chilled ceilings or passive chilled beams | [12 empty] | Default post 1998 | [9 empty] | EER Value : | [5 empty] | SEER Value :
|  | Active chilled beams | [12 empty] | Non-Default Value
|  | Single-duct VAV | [9 empty] | HVAC Metering Provision | [10 empty] | Cooling Source
|  | Dual-duct VAV | [11 empty] | Yes, Submetered |  |  |  | Yes, M&T Alarm | [5 empty] | Heatpump (electric)
|  | Indoor packaged cabinet (VAV) | [11 empty] | No, Submetered |  |  |  | No, M&T Alarm | [5 empty] | Heatpump (gas/ oil)
|  | Multizone (hot deck/cold deck) | [5 empty] | [RARE] |  |  |  |  | Lighting Metering Provision | [10 empty] | Air cooled chiller
|  | Induction system |  | [RARE] | [9 empty] | Yes, Submetered |  |  |  | Yes, M&T Alarm | [5 empty] | Water cooled chiller
[14 empty] | No, Submetered |  |  |  | No, M&T Alarm | [5 empty] | Remote-condenser chiller
| Applied in zones tab: |  |  |  |  | Variable Speed Pumps? (c) | [6 empty] | Ventilation Heat Recovery | [12 empty] | Heat Recovery Seasonal Efficiency
| * Ventilaton | [6 empty] | No Const. Speed | [5 empty] | Plate heat exchanger |  |  |  |  | Thermal wheel | [7 empty] | Default
| ** Terminal Unit SFP | [6 empty] | Yes LTHW & CHW | [5 empty] | Heat-pipes |  |  |  |  | Run around coil | [7 empty] | Non Default Value | [5 empty] | ``
[5 empty] | Sensor: |  |  |  | P | S | M |  | Variable Heat Recovery Efficiency ? | [7 empty] | Specific Fan Power
[14 empty] | Yes | [7 empty] | Default
|  | Ductwork Leakage |  |  | AHU Leakage | [8 empty] | No | [7 empty] | SFP: | [5 empty] | W/l/s
|  |  | Default |  |  | Default | [6 empty] | System Controls | [15 empty] | Mixed Mode Operation
|  |  | Non Default |  |  | Non Default | [7 empty] | Central Time Control | [5 empty] | Local Temperature Control | [10 empty] | Yes
|  | Class: |  |  | Class: | [8 empty] | Optimum Start/ Stop Control | [5 empty] | Weather Compensation Control | [10 empty] | No
Local Time Control
Replicate this page as required if there are more than two Heating & Cooling HVAC systems. See other worksheet for systems that can provide HEATING ONLY.

## Page 4 HWS CHP and Renewables
Heating system (Hot Water System)
Generator Type | [7 empty] | HWS System Fuel | [10 empty] | HWS System Age | [8 empty] | HWS System Efficiency
| Dedicated hot water boiler | [7 empty] | mains gas | [5 empty] | biomass |  |  |  |  | 1998 or later | [8 empty] | Default
| Stand-alone water heater | [7 empty] | LPG | [5 empty] | waste heat |  |  |  |  | pre 1998 | [8 empty] | Non Default
| Instantaneous hot water only | [7 empty] | Biogas | [5 empty] | other: |  |  | Manufacturer / make / model number
| Instantaneous combi | [7 empty] | Oil
| Heat pump | [7 empty] | electricity
| Same as HVAC: | [7 empty] | Coal
Hot Water Cylinder Storage System | [26 empty] | Secondary Circulation
| no access |  |  | Insulation: |  |  | no insulation | [12 empty] | storage losses | [8 empty] | circulation losses (W/m)
|  |  | capacity (litres) |  |  |  | lagging jacket | [7 empty] | insulation | [13 empty] | pump power (kW)
|  |  | or dimensions |  |  |  | factory fitted | [7 empty] | thickness (mm) | [7 empty] | MJ/month | [5 empty] | loop length (m)
time control on secondary circulation
Solar Water Heating
Collector Parameters | [26 empty] | Manufacturer / make / model number
| none | [8 empty] | aperture | [5 empty] | orientation |  |  |  |  | evacuated tube
| solar water heating present | [8 empty] | panel area (m2) | [10 empty] | flat plate, glazed
[16 empty] | tilt o |  |  |  |  | Unglazed
Non Default
Solar Storage | [23 empty] | Collector Loop
|  |  | solar storage |  |  | combined cylinder | [6 empty] | no insulation | [6 empty] | insulation |  |  |  | Heat Transfer Rate of Heat Exchanger | [6 empty] | Heat Loss Coeff of all Pipes
|  |  | volume (litres) |  |  | separate cylinder | [6 empty] | lagging jacket | [6 empty] | thickness | [5 empty] | no heat exchanger | [6 empty] | default
[13 empty] | factory fitted | [6 empty] | (mm) | [5 empty] | default | [6 empty] | non default
non default
Photovoltaics
Parameters | [26 empty] | Manufacturer / make / model number
| none | [12 empty] | Orientation |  |  | Overshading
| Use Peak Power | [15 empty] | None or very little (<20%)
| Mono crystalline silicon | [15 empty] | Modest (20-60%)
| Multi crystalline silicon | [12 empty] | Inclination |  |  | Significant (60-80%)
| Multi layer thin film amorphous silicon | [15 empty] | Heavy (>80%)
| Other thin film layers | [11 empty] | Ventilation Strategy
| Thin film copper-indium-gallium-diselenide | [11 empty] | Strongly ventilated or forced ventilated modules
| Thin film cadmium-telluride | [11 empty] | Moderately ventilated modules
|  | Area | [10 empty] | Unventilated modules
m2
Wind Generator
Parameters | [26 empty] | Manufacturer / make / model number
| none |  |  |  |  | Smooth flat country (no obstacles) | [10 empty] | horizontal | [6 empty] | height,m
| turbine present |  |  |  |  | Farm land with boundary hedges | [10 empty] | axis, m
[6 empty] | Suburban or industrial area | [10 empty] | Swept | [6 empty] | power,kW
[6 empty] | Urban with average building height > 15m | [10 empty] | Area, m2
CHP
Parameters |  |  |  |  | Fuel | [10 empty] | Efficiency | [5 empty] | Heat Supplied | [7 empty] | Tri Generation
| none |  |  |  |  | mains gas |  |  |  |  | biomass | [5 empty] | Heat | [7 empty] | Building Space | [6 empty] | Building Cooling
| chp present |  |  |  |  | LPG |  |  |  |  | Anthracite | [5 empty] | Efficiency | [7 empty] | Heat Supplied, % | [6 empty] | Supplied, %
| tri generation present |  |  |  |  | Biogas |  |  |  |  | Smokeless Fuel | [5 empty] | Electrical | [7 empty] | Building Hot | [6 empty] | Chiller
[6 empty] | Oil |  |  |  |  | Dual Fuel Appliances | [5 empty] | Efficiency | [7 empty] | Water Supplied, % | [6 empty] | Efficiency
Coal
CHP Manufacturer / make / model number | [21 empty] | Chiller Manufacturer / make / model number
Any other comments or details on assessment including items observed which affect the rating but not shown elsewhere on survey form/sketches.
Reprint this page if multiple CHP, DHW, Solar, PV or Wind systems present

## Page 5 Zones Building Services
ZONES: BUILDING SERVICES DETAILS
Zone name | Description | Building type | SBEM Activity | Area m2 | Height m | Which HVAC system*? | Zonal ventilation? Y / N | Zonal Mechanical exhaust? Y / N | Ventilation part of HVAC? Y / N | DHW generator name | DHW deadleg length m | Lighting: What information | Total W lumens/W lamp type | Display high eff.lamps | Lighting controls Manual or Auto M / A | Switching or Dimming S / D | Back sensor Y/N? | Occupancy sensing | Photoelectric (daylight) sensor | Demand Controlled Ventilation | Destratification Fans | Night Cooling hours | Night Cooling flow rate | Night Cooling SFP | Ternimal Unit SFP | Solar Collectors
z0/00 | Example tea area in office | Office | Generic Office Area | 9 | 3.1 | Heating only | N | N | N | DHW 1 | 0 | Visual Survey | T-8 standard | N/A | A | S | N | Y | N
Copy Format Above for other zones

## Page 6 Zones Geometry
ZONES: GEOMETRICAL DETAILS |  |  |  | Adjacent spaces: CAS= Conditioned adjoining space; Ext=Exterior, Und=Underground, UAS=Unheated adjoining space, UASPC=UAS - partially conditioned by surrounding spaces
Shading type: None,Ext, or Int Colour = W,P,D or B. Translucency = Opaque, Med, or High. Brise-Solei: Y or N
Basic zone information | [6 empty] | Envelope elements | [6 empty] | windows and doors | [5 empty] | window only | [5 empty] | doors only
Zone name | Description | Building type | Activity# | Area m2 | Height m | HVAC system | Element name$ | Wall, Roof (Pitch angle) | Orientation NESWH | Adjacent space | Construction name* | Length walls only, (Perimeter) | Area m2 | Window name/Door name$ | Glazing/door construction name* | Width | Height | Aspect Ratio | Area m2 | or % glazed (instead of area) | Frame Type | Window Width/ Gap Width | Gap Gas | Shading type | Transmission factor | Type of door
z-/01 |  |  |  |  | 3 |  | z-/01/s | wall | s | Exterior |  | 3 | 9 | z-/01/s/g |  | 2 | 1 | 0.5 | 2 | 0
[7 empty] | z-/01/w | wall | w | Exterior |  | 2 | 6 | z-/01/w/g |  | 1.5 | 2.5 | 1.6667 | 3.75 | 0
[7 empty] | z-/01/n | wall | n | UAS - PC | [5 empty] | 0 | 0 |  | 0
[7 empty] | z-/01/f | floor | h | Und |  |  | 0
[7 empty] | z-/01/c | roof (0) | h | Exterior |  |  | 0
z0/02 |  |  |  |  | 3.5 |  | z0/02/s | wall | s | Exterior |  | 3 | 10.5 | z0/02/s/g |  | 2 | 1 | 0.5 | 2 | 0
[7 empty] | z0/02/w | wall | w | Exterior |  | 3 | 10.5 | z0/02/w/g |  | 1.5 | 2.5 | 1.6667 | 3.75 | 0
[7 empty] | z0/02/n | wall | n | UAS |  | 4 | 14 |  |  | 0 | 0 |  | 0
[7 empty] | z0/02/h | floor | h | Und |  |  | 0
[7 empty] | z0/02/h | roof (0) | h | Exterior |  |  | 0
z0/03 |  |  |  |  | 3 |  | z0/03/s | wall | s | Exterior |  | 3 | 9 | z0/03/s/g |  | 2 | 1 | 0.5 | 2 | 0
[7 empty] | z0/03/w | wall | w | Exterior |  | 3 | 9 | z0/03/w/g |  | 1.5 | 2.5 | 1.6667 | 3.75 | 0
[7 empty] | z0/03/n | wall | n | Same |  | 3 |  |  |  | 0 | 0 |  | 0
[7 empty] | z0/03/h | floor | h | Und |  |  | 0
[7 empty] | z0/03/h | roof (0) | h | Exterior |  |  | 0
z0/04 |  |  |  |  | 3 |  | z0/04/s | wall | s | Exterior |  | 0 | 0 | z0/04/s/g |  | 2 | 1 | 0.5 | 2 | 0
[7 empty] | z0/04/w | wall | w | Exterior |  | 0 | 0 | z0/04/w/g |  | 1.5 | 2.5 | 1.6667 | 3.75 | 0
[7 empty] | z0/04/n | wall | n | UAS - PC | [5 empty] | 0 | 0 |  | 0
[7 empty] | z0/04/h | floor | h | Und |  |  | 0
[7 empty] | z0/04/h | roof (0) | h | Exterior |  |  | 0
Copy the above format for any further zones; Copy lines in each zone for additional elements. Zones can be merged prior to entry on survey form (subject to SBEM rules). Survey Form Version 2.0.....Q3 2019
Note on W4: SEAI: Include Window Width and Gas Width ie 6/12/6 would represent 6mm glass/ 12mm gap/ 6mm glass
Note on X4: SEAI: State Type of gas in gap ie Air/ Argon etc
Note on J5: SEAI:Fields (orientation etc) to be updated based on the actual survey.

## Sheet1
n | CAS
e | Exterior
s | Same
w | Und
ne | Strongly vent.
se | UAS - PC
sw | UAS
ne | Und
h