## Cover Sheet
Quality Assurance and Quality Control
Workbook Information
File Name: | National Heat Study - Electricity Infrastructure - supporting data
Description of file: | Output of the SEAI National Heat Study. This workbook contains an analysis of the cost of electricity networks in the baseline year, and how these costs are expected to change in future energy system scenarios. The outputs have been generated in a format consistent with the requirements of the Infrastructure module of the National Energy Modelling Framework (NEMF) tool.
Version | V1.0
Issued | 2022-02-22

## DSO
DSO costs
Cost baseline and future projections for the Distribution System Operator (DSO)
Sources
Source for PR4: CRU20077, Commission for Regulation of Utilities, Price Preview 5 (PR5) - 2021-2025, Distribution System Operator (DSO) Revenue for 2021-2025 [Table 9 and Table 12]
Source for PR5: CRU20157 DSO Revenue Model
Source for PR6 to PR9: Element Energy assumptions based on consultation with ESB Networks
Cost item | Fixed | Scale with load growth | Scale with generation capacity | PR4 | PR5 | PR6 | PR7 | PR8 | PR9 | Fixed costs: increase PR6 versus PR5 | Fixed costs: increase PR7 versus PR6 | Fixed costs: increase PR8 versus PR7 | Fixed costs: increase PR9 versus PR8 | Notes
Operating Expenditure (€m)
Network Operations & Maintenance | 1 |  |  | 573.5
System control | 1 |  |  |  | 91.3 | 91.3 | 91.3 | 91.3 | 91.3 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time based on consultation with ESB Networks
Planned maintenance | 1 |  |  |  | 328.4 | 334.968 | 341.6674 | 348.5007 | 355.4707 | 2% | 2% | 2% | 2% | Assumption of 2% increase per 5 yr period for PR6 onwards based on consultation with ESB Networks
Fault maintenance | 1 |  |  |  | 207.3 | 211.446 | 215.6749 | 219.9884 | 224.3882 | 2% | 2% | 2% | 2%
Asset Management | 1 |  |  | 82.4
Asset Management | 1 |  |  |  | 82.7 | 82.7 | 82.7 | 82.7 | 82.7 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time based on consultation with ESB Networks
Forestry & Wayleaves | 1 |  |  |  | 24.6 | 24.6 | 24.6 | 24.6 | 24.6 | 0% | 0% | 0% | 0%
Metering | 1 |  |  | 110.2
Meter Reading | 1 |  |  |  | 29.4 | 29.4 | 29.4 | 29.4 | 29.4 | 0% | 0% | 0% | 0%
QH Data | 1 |  |  |  | 9.6 | 9.6 | 9.6 | 9.6 | 9.6 | 0% | 0% | 0% | 0%
Data Aggregation | 1 |  |  |  | 34.3 | 34.3 | 34.3 | 34.3 | 34.3 | 0% | 0% | 0% | 0%
Customer Meter Operation | 1 |  |  |  | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 0% | 0% | 0% | 0%
Keypad / Token Meter | 1 |  |  |  | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 0% | 0% | 0% | 0%
Smart Metering Opex | 1
Smart Metering Opex | 1 |  |  |  | 59.1 | 59.1 | 59.1 | 59.1 | 59.1 | 0% | 0% | 0% | 0%
Customer Service | 1 |  |  | 89.2
Call Centre | 1 |  |  |  | 32.5 | 32.5 | 32.5 | 32.5 | 32.5 | 0% | 0% | 0% | 0%
Area Operations | 1 |  |  |  | 55.6 | 55.6 | 55.6 | 55.6 | 55.6 | 0% | 0% | 0% | 0%
Customer Relations | 1 |  |  |  | 35.7 | 35.7 | 35.7 | 35.7 | 35.7 | 0% | 0% | 0% | 0%
Provision Of Information | 1 |  |  | 57.1
Duos Billing & Accounts Receivable | 1 |  |  |  | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 0% | 0% | 0% | 0%
MRSO | 1 |  |  |  | 9.6 | 9.6 | 9.6 | 9.6 | 9.6 | 0% | 0% | 0% | 0%
Market Opening | 1 |  |  |  | 52.6 | 52.6 | 52.6 | 52.6 | 52.6 | 0% | 0% | 0% | 0%
Commercial | 1
3rd party damages | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Supply repayable | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Other external repayable | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Other commercial | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Sustainability & R & D | 1
R&D | 1 |  |  | 10.5 | 20 | 20 | 20 | 20 | 20 | 0% | 0% | 0% | 0%
Other | 1 |  |  | 379.7
Network Rates | 1 |  |  |  | 329.7 | 336.294 | 343.0199 | 349.8803 | 356.8779 | 2% | 2% | 2% | 2% | Assumption of 2% increase per 5 yr period for PR6 onwards based on consultation with ESB Networks
CER/CRU Levy | 1 |  |  |  | 11 | 11 | 11 | 11 | 11 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time based on consultation with ESB Networks
Reporting Allowance | 1 |  |  |  | 1 | 1 | 1 | 1 | 1 | 0% | 0% | 0% | 0%
Corporate Charges & Corporate Affairs | 1 |  |  | 60.8 | 60.9 | 60.9 | 60.9 | 60.9 | 60.9 | 0% | 0% | 0% | 0%
Insurance | 1 |  |  |  | 27.4 | 27.4 | 27.4 | 27.4 | 27.4 | 0% | 0% | 0% | 0%
Legal | 1 |  |  |  | 16.2 | 16.2 | 16.2 | 16.2 | 16.2 | 0% | 0% | 0% | 0%
Pension | 1 |  |  |  | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 0% | 0% | 0% | 0%
Environmental | 1 |  |  |  | 27.8 | 27.8 | 27.8 | 27.8 | 27.8 | 0% | 0% | 0% | 0%
DSO Transformation | 1 |  |  |  | 24 | 24 | 24 | 24 | 24 | 0% | 0% | 0% | 0%
Health & Safety | 1 |  |  |  | 39.9 | 39.9 | 39.9 | 39.9 | 39.9 | 0% | 0% | 0% | 0%
Telecoms | 1 |  |  | 21.9 | 30.5 | 30.5 | 30.5 | 30.5 | 30.5 | 0% | 0% | 0% | 0%
Flexible Opex Solutions | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Efficiency | 1 |  |  |  | -34.6525 | -34.6525 | -34.6525 | -34.6525 | -34.6525 | 0% | 0% | 0% | 0%
Capital Expenditure (€m)
Load Related Capex
New housing Schemes |  | 1 |  | 89.8 | 172.4 | Scale with load growth
Non-scheme Houses |  | 1 |  | 163.5 | 143.6 | Scale with load growth
Commercial/Industrial Supplies |  | 1 |  | 150.8 | 153.044 | Scale with load growth
Whole Current Metering |  | 1 |  | 18.4 | 33 | Scale with load growth
New Business |  | 1
Transmission Connection Costs |  | 1 |  | 0 | 0 | Scale with load growth
110kV |  | 1 |  | 69.8 | 135.9202 | Scale with load growth
38kV |  | 1 |  | 97.6 | 106 | Scale with load growth
MVLV System Improvements |  | 1 |  | 57.5 | 170.1 | Scale with load growth
20kV Conversion |  | 1 |  | 10.5 | 118.79 | Scale with load growth
Reinforcements |  | 1
Generation Connections |  |  | 1 | 131.4 | 193.4 | Scale with generation capacity
Dismantling |  | 1 |  | 0 | 0 | Scale with load growth
Non-Repayable Line Diversions |  | 1 |  | 99.9 | 95.7 | Scale with load growth
Repayable Line Diversions |  | 1 |  | 61.8 | 55 | Scale with load growth
Wayleave Payments |  | 1 |  |  | 14.2 | Scale with load growth
Non-Load Related Capex | 1 |  |  | 16.3
Renew Prog - 110kV & 38kV Lines | 1 |  |  | 32.8 | 33.2 | 44.2667 | 59.0222 | 59.0222 | 59.0222 | 33.33% | 33.33% | 0% | 0% | Estimated projections for Network renewal costs (all items labelled "Renew Prog") based on consultation with ESB Networks
Renew Prog - 110 & 38kV Cables | 1 |  |  | 16.6 | 39.1 | 52.1333 | 69.5111 | 69.5111 | 69.5111 | 33.33% | 33.33% | 0% | 0% | Assumption of costs staying fixed over time based on consultation with ESB Networks
Renew Prog - HV Substation | 1 |  |  | 117.2 | 123.4 | 164.5333 | 219.3778 | 219.3778 | 219.3778 | 33.33% | 33.33% | 0% | 0%
Renew Prog - MV Overhead Lines | 1 |  |  | 101.4 | 141.2 | 188.2667 | 251.0222 | 251.0222 | 251.0222 | 33.33% | 33.33% | 0% | 0%
Renew Prog - MV Cables | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 33.33% | 33.33% | 0% | 0%
Renew Prog - MV Substations | 1 |  |  | 41.6 | 41.5 | 55.3333 | 73.7778 | 73.7778 | 73.7778 | 33.33% | 33.33% | 0% | 0%
Renew Prog - Urban LV Renewal | 1 |  |  | 11.3 | 4 | 5.3333 | 7.1111 | 7.1111 | 7.1111 | 33.33% | 33.33% | 0% | 0%
Renew Prog - Rural LV Network | 1 |  |  | 1.9 | 38.8 | 51.7333 | 68.9778 | 68.9778 | 68.9778 | 33.33% | 33.33% | 0% | 0%
Renew Prog - LV cables and associated items | 1 |  |  | 12.9 | 16.9 | 22.5333 | 30.0444 | 30.0444 | 30.0444 | 33.33% | 33.33% | 0% | 0%
Meters and Time Switches | 1 |  |  | 8.1 | 20 | 20 | 20 | 20 | 20 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time based on consultation with ESB Networks
Renew Prog - Cutouts | 1 |  |  | 3.1 | 0.9 | 1.2 | 1.6 | 1.6 | 1.6 | 33.33% | 33.33% | 0% | 0% | Estimated projections for Network renewal costs (all items labelled "Renew Prog") based on consultation with ESB Networks
Continuity Improvement | 1 |  |  | 13.8 | 39 | 39 | 39 | 39 | 39 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time based on consultation with ESB Networks
Response capex | 1 |  |  | 74.3 | 26.6 | 26.6 | 26.6 | 26.6 | 26.6 | 0% | 0% | 0% | 0%
System Control | 1 |  |  | 22.6 | 169.3 | 169.3 | 169.3 | 169.3 | 169.3 | 0% | 0% | 0% | 0%
New Asset Lives | 1 |  |  |  | 66.1484 | 66.1484 | 66.1484 | 66.1484 | 66.1484 | 0% | 0% | 0% | 0%
New Asset Lives Adjustment | 1 |  |  |  | -66.1484 | -66.1484 | -66.1484 | -66.1484 | -66.1484 | 0% | 0% | 0% | 0%
Protection (Secondary Asset) | 1 |  |  |  | 17.6 | 17.6 | 17.6 | 17.6 | 17.6 | 0% | 0% | 0% | 0%
Protection Adjustment | 1 |  |  |  | -17.6 | -17.6 | -17.6 | -17.6 | -17.6 | 0% | 0% | 0% | 0%
IVADN | 1 |  |  | 3.7 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Non Network Capex | 1
New Accommodation | 1 |  |  | 0 | 88.4 | 88.4 | 88.4 | 88.4 | 88.4 | 0% | 0% | 0% | 0%
Accommodation Refurbishment | 1 |  |  | 15.2 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Fixture & Fittings | 1 |  |  | 0.9 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Office Equipment | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Vehicles | 1 |  |  | 32.1 | 46.4 | 46.4 | 46.4 | 46.4 | 46.4 | 0% | 0% | 0% | 0%
Tools | 1 |  |  | 31.1 | 27.7 | 27.7 | 27.7 | 27.7 | 27.7 | 0% | 0% | 0% | 0%
Distribution Assets Management | 1 |  |  | 28.7 | 75.1 | 75.1 | 75.1 | 75.1 | 75.1 | 0% | 0% | 0% | 0%
Distribution Control / Operation | 1 |  |  | 3.1 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
IT Infrastructure | 1 |  |  | 2.2 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Enterprise Applications | 1 |  |  | 49.9 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Environment | 1 |  |  | 1 | 10.3 | 10.3 | 10.3 | 10.3 | 10.3 | 0% | 0% | 0% | 0%
Telecomms & System Control | 1 |  |  | 34.4 | 54.9 | 54.9 | 54.9 | 54.9 | 54.9 | 0% | 0% | 0% | 0%
New Customer Experience Capex | 1 |  |  |  | 19.2 | 19.2 | 19.2 | 19.2 | 19.2 | 0% | 0% | 0% | 0%
Smart Metering
Smart Metering |  |  |  | Excluded

## TAO
TAO costs
Cost baseline and future projections for the Transmission Asset Operator (TAO)
Sources
Source for PR4: CRU20076, Commission for Regulation of Utilities, Price Review Five (PR5) TSO and TAO Transmission Revenue for 2021 - 2025
Source for PR5: CRU20156 TAO Revenue Model
Source for PR6 to PR9: Element Energy assumptions
Cost item | Fixed | Scale with load growth | Scale with generation capacity | PR4 | PR5 | PR6 | PR7 | PR8 | PR9 | Fixed costs: increase PR6 versus PR5 | Fixed costs: increase PR7 versus PR6 | Fixed costs: increase PR8 versus PR7 | Fixed costs: increase PR9 versus PR8 | Notes
Operating Expenditure (€m)
Opex | 1 |  |  | 298.2
Operations Allowance | 1 |  |  |  | 10 | 10 | 10 | 10 | 10 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time (Element Energy assumption)
Maintenance Allowance | 1 |  |  |  | 105.2 | 105.2 | 105.2 | 105.2 | 105.2 | 0% | 0% | 0% | 0%
Wayleaves | 1 |  |  |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 0% | 0% | 0% | 0%
Telecoms | 1 |  |  |  | 8.9 | 8.9 | 8.9 | 8.9 | 8.9 | 0% | 0% | 0% | 0%
Professional Services Fees | 1 |  |  |  | 12.8 | 12.8 | 12.8 | 12.8 | 12.8 | 0% | 0% | 0% | 0%
Rates | 1 |  |  |  | 162.4 | 162.4 | 162.4 | 162.4 | 162.4 | 0% | 0% | 0% | 0%
CRU Levy | 1 |  |  |  | 5.6 | 5.6 | 5.6 | 5.6 | 5.6 | 0% | 0% | 0% | 0%
Corporate | 1 |  |  |  | 18.2 | 18.2 | 18.2 | 18.2 | 18.2 | 0% | 0% | 0% | 0%
Legal | 1 |  |  |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0% | 0% | 0% | 0%
Insurance | 1 |  |  |  | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 0% | 0% | 0% | 0%
Pension Administration | 1 |  |  |  | 2 | 2 | 2 | 2 | 2 | 0% | 0% | 0% | 0%
Company Wide Costs | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Efficiency | 1 |  |  |  | -5.3088 | -5.3088 | -5.3088 | -5.3088 | -5.3088 | 0% | 0% | 0% | 0%
Capital Expenditure (€m)
TAO Network Capex | 1 |  |  | 803
Ongoing Projects (€m) | 1 |  |  |  | 430.5 | 430.5 | 430.5 | 430.5 | 430.5 | 0% | 0% | 0% | 0%
System Reinforcements |  | 1 |  |  | 73.8 | Scale with load growth
New Connections |  | 1 |  |  | 376.3 | Scale with load growth
Asset Refurbishment | 1 |  |  |  | 198.9 | 198.9 | 198.9 | 198.9 | 198.9 | 0% | 0% | 0% | 0%
TAO Adjustment | 1 |  |  |  | 25 | 25 | 25 | 25 | 25 | 0% | 0% | 0% | 0%
DSO | 1 |  |  |  | 29.1 | 29.1 | 29.1 | 29.1 | 29.1 | 0% | 0% | 0% | 0%
Generic Projects | 1 |  |  |  | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0% | 0% | 0% | 0%
Interest during Construction |  |  |  |  | -56.3 | -56.3 | -56.3 | -56.3 | -56.3 | 0% | 0% | 0% | 0%
Protection, Telecoms and Station Security | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%

## TSO
TSO costs
Cost baseline and future projections for the Transmission System Operator (TSO)
Sources
Source for PR4: CRU20076, Commission for Regulation of Utilities, Price Review Five (PR5) TSO and TAO Transmission Revenue for 2021 - 2025
Source for PR5: CRU20158 TSO Revenue Model
Source for PR6 to PR9: Element Energy assumptions
Cost item | Fixed | Scale with load growth | Scale with generation capacity | PR4 | PR5 | PR6 | PR7 | PR8 | PR9 | Fixed costs: increase PR6 versus PR5 | Fixed costs: increase PR7 versus PR6 | Fixed costs: increase PR8 versus PR7 | Fixed costs: increase PR9 versus PR8 | Notes
Operating Expenditure (€m)
Internal Opex
Staff & Staff-Related Costs | 1 |  |  | 138.9 | 176.514 | 176.514 | 176.514 | 176.514 | 176.514 | 0% | 0% | 0% | 0% | Assumption of costs staying fixed over time (Element Energy assumption)
Contractors | 1 |  |  | 6.5 | 8.35 | 8.35 | 8.35 | 8.35 | 8.35 | 0% | 0% | 0% | 0%
Transport | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Telecommunications | 1 |  |  | 24.9 | 27.57 | 27.57 | 27.57 | 27.57 | 27.57 | 0% | 0% | 0% | 0%
Premises | 1 |  |  | 26.4 | 29.4619 | 29.4619 | 29.4619 | 29.4619 | 29.4619 | 0% | 0% | 0% | 0%
IT Costs | 1 |  |  | 22.3 | 40.3805 | 40.3805 | 40.3805 | 40.3805 | 40.3805 | 0% | 0% | 0% | 0%
Insurance and Compensation | 1 |  |  | 1.3 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 0% | 0% | 0% | 0%
Selling and Advertising | 1 |  |  | 8.6 | 13.5434 | 13.5434 | 13.5434 | 13.5434 | 13.5434 | 0% | 0% | 0% | 0%
Professional Services | 1 |  |  | 19.8 | 21.2645 | 21.2645 | 21.2645 | 21.2645 | 21.2645 | 0% | 0% | 0% | 0%
Grid Maintenance | 1 |  |  | 3.3 | 3.38 | 3.38 | 3.38 | 3.38 | 3.38 | 0% | 0% | 0% | 0%
Provisions | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Rates | 1 |  |  | 2.4 | 3 | 3 | 3 | 3 | 3 | 0% | 0% | 0% | 0%
Other | 1 |  |  | 1.2 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | Includes Research, development and demonstration for PR4
PR5 Reporting Costs | 1 |  |  |  | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0% | 0% | 0% | 0%
Promotion of Research | 1 |  |  | 0.7 | 2.3609 | 2.3609 | 2.3609 | 2.3609 | 2.3609 | 0% | 0% | 0% | 0%
Intercompany Charges | 1 |  |  | -15.6 | -15.5 | -15.5 | -15.5 | -15.5 | -15.5 | 0% | 0% | 0% | 0%
Frontier Shift | 1 |  |  |  | -3.3342 | -3.3342 | -3.3342 | -3.3342 | -3.3342 | 0% | 0% | 0% | 0%
Total Internal Opex |  |  |  |  | 309.2411 | 309.2411 | 309.2411 | 309.2411 | 309.2411 | 0% | 0% | 0% | 0%
External Opex | 1 |  |  | 499.2
Inter TSO Compensation | 1 |  |  |  | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 0% | 0% | 0% | 0%
CORESO Subscription | 1 |  |  |  | 2.75 | 2.75 | 2.75 | 2.75 | 2.75 | 0% | 0% | 0% | 0%
Interconnector Services | 1 |  |  |  | 4.1 | 4.1 | 4.1 | 4.1 | 4.1 | 0% | 0% | 0% | 0%
CER Levy | 1 |  |  |  | 4.9 | 4.9 | 4.9 | 4.9 | 4.9 | 0% | 0% | 0% | 0%
Rolling Retention | 1 |  |  |  | 1.95 | 1.95 | 1.95 | 1.95 | 1.95 | 0% | 0% | 0% | 0%
DUoS Charges | 1 |  |  |  | 16.2 | 16.2 | 16.2 | 16.2 | 16.2 | 0% | 0% | 0% | 0%
Ancillary Services | 1 |  |  |  | 918.6 | 918.6 | 918.6 | 918.6 | 918.6 | 0% | 0% | 0% | 0%
ENTSOE Fees | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
EWIC Support Fees | 1 |  |  |  | 106.85 | 106.85 | 106.85 | 106.85 | 106.85 | 0% | 0% | 0% | 0%
Total External Opex |  |  |  |  | 1065.85 | 1065.85 | 1065.85 | 1065.85 | 1065.85 | 0% | 0% | 0% | 0%
Capital Expenditure (€m)
Non-Network Capex | 1 |  |  | 30.3
Sustainability & Decarbonisation | 1 |  |  |  | 19.42 | 19.42 | 19.42 | 19.42 | 19.42 | 0% | 0% | 0% | 0%
Operate, Develop & Enhance Grid | 1 |  |  |  | 11.27 | 11.27 | 11.27 | 11.27 | 11.27 | 0% | 0% | 0% | 0%
Engage in better outcomes for all | 1 |  |  |  | 1.48 | 1.48 | 1.48 | 1.48 | 1.48 | 0% | 0% | 0% | 0%
BAU - IT Asset Replacement or Upgrade | 1 |  |  |  | 31.75 | 31.75 | 31.75 | 31.75 | 31.75 | 0% | 0% | 0% | 0%
BAU - Transition to Cloud Hosting | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
BAU - IT Operating Model Review | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
BAU - Build resilience and manage market | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
BAU - Maintaining baseline cyber defences | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Non-Network Capex deferred (PR4) | 1 |  |  |  | -3.2 | -3.2 | -3.2 | -3.2 | -3.2 | 0% | 0% | 0% | 0%
Total |  |  |  |  | 60.72 | 60.72 | 60.72 | 60.72 | 60.72 | 0% | 0% | 0% | 0%
Real Price Effects | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Frontier Shift | 1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0%
Net Total |  |  |  |  | 60.72 | 60.72 | 60.72 | 60.72 | 60.72 | 0% | 0% | 0% | 0%
Network Capex |  | 1 |  | 87 | 70.2 | Scale with load growth