## Commissioning Form
SSRH - Support Scheme Renewable Heat Commissioning Form VERSION 1
1. Please download and complete this excel form as part of your application to the Support Scheme for Renewable Heat.
2. Please submit a duly completed version of this Commissioning Form together with the required documentation to ssrh@seai.ie in one e-mail with your project reference number in the “Subject” line of the e-mail. It is good practice to save these documents with the applicants name and the application reference number in the file name.
September 2018
Question Reference | Question
Section | COMMISSIONING FORM & INSTALLATION STANDARDS
1 | Enter the date of the most recent calibration and the date of next scheduled calibration for all of your meters in the table below. Enter the meter manufacturer model and serial number. If not a packaged unit, enter the manufacturer and model of both the integrator and the flow meter. Meter type: is it Electric energy or Volumetric flow heat energy.
Meter Data |  | Example | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 5
Meter label |  | HM1
Most recent calibration |  | dd/mm/yyyy
Next scheduled calibration |  | dd/mm/yyyy
Meter Type |  | Vol flow/ Electric Pow
Make |  | Tobisi
Model |  | X1000TA
Serial number |  | 11111111
Opening meter reading |  | OOOOOOO1O kWh
Date of reading |  | dd/mm/yyyy
2 | Provide a brief description/s allowing this meter to be identified on the schematic diagram. Please include a description of the type of volumetric flow meter used.
3 | Please insert the model number of your heat pump found on the |  |  |  |  | Refer to the SSRH guidance document
device. Example HP00XX
4 | Provide the following information about the company that carried out the installation.
Company name
Address: Line 1
Line 2
Line 3
Line 4
Phone number
Installer used
5 | Installations must be carried out by a competent installer. Enter your installer accreditations/qualifications.
6 | Was the installation (including all parts comprising the installation) new at the time of completion and first commissioning? Receipts of purchase required. |  |  |  |  | Please attach a copy of these documents to the email when submitting this form.
7 | Commissioning Cert from accredited installer.
8 | Upload the completed installer declaration form.