## Admin info and HO declaration
Technical Assessment Form for Better Energy Homes Heat Pump System Grants (V0.6)
Administrative Information
Homeowner Address |  | Dwelling Address (Only If different from HO address)
Name* |  | Address 1
Address 1* |  | Address 2
Address 2 |  | Town/City
Town/City* |  | County
County* |  | Eircode | -
Eircode* | - | Dwelling address same as homeowner address? |  | YES
No
Cost of Technical Advisor Service |  | Total Floor Area and Year Constructed
€* |  | Floor area [m2]*
Year Constructed*
Cost of delivering the service includes advice, Technical Assessment and, if carried out, a BER publication prior to works. Don't include cost of BER post works in this figure. SEAI do not charge a fee for submission of Technical Assessments. Cost is agreed between Technical Advisor and homeowner. |  | Dwelling Identification Numbers
BER No. *
MPRN No. *
Technical Advisor Details
Name*
BER Assessor No.*
Type of Heating System Currently Present (e.g. Oil, Gas)
Heat Pump Grants under the Better Energy Homes Programme are only available for first time systems. The Programme is not intended to support Heat Pump system installations or upgrades which have previously had a Heat Pump system installed (whether or not such system is functional at the time of the application)
Homeowner Declaration
I declare that I have been advised on the level of thermal performance of building fabric required to qualify for the heat pump system grants offered, where applicable, by the SEAI Better Energy Programme. I declare that I have been provided with a report by the Technical Advisor detailing different options to achieve the Heat Loss Indicator required for the heat pump system grant, where applicable, to help me choose the most suitable option. That most suitable option is now detailed in this Technical Assessment Form. I understand that: • By uploading or submitting this technical assessment to the SEAI, I understand that I am making a declaration under the terms and conditions of the Better Energy Homes Programme. I certify that the information provided in this Technical Assessment is accurate and complete to the best of my knowldge. • The aim of these requirements is to minimise heat loss so that the heat pump can function efficiently and be effective at heating the building • Failure to achieve the level of thermal performance of building fabric specified with a maximum value of Heat Loss Indicator of 2.30, will result in the heat pump system and technical assessment grant been declined, where applicable. • The requirements for building upgrades for the heat pump grant specified in this report are separate from requirements for other SEAI grants (wall and roof insulation grants). If applying for the wall or roof insulation grants for upgrades specified in this report, I will clarify in my contract with the insulation contractor that works need to satisfy both requirements. • Where my house was built prior to 2007 where the valid BER states a non-compliant HLI level, it is my responsibility to ensure that contractors carry out the upgrades to the requirements specified here and needed to qualify for the heat pump system grant, where applicable. • If specifications for works carried out differ from what is specified here, it is my responsibility to ensure that they still satisfy the requirement of maximum value of Heat Loss Indicator of 2.30 to qualify for the heat pump system grant, where applicable. • For homes built from 2007 onward, any fabric upgrades listed on the Technical Assessment by the Technical Advisor are recommended to be completed, but are not mandatory. • Heat Pump Grants under the Better Energy Homes Programme are only available for first time systems. The Programme is not intended to support Heat Pump system installations or upgrades which have previously had a Heat Pump system installed (whether or not such system is functional at the time of the application).
Page 1/4

## Advisor Declaration
Technical Advisor Declaration
Published BER Declaration |  | Heat Loss Indicator (HLI) [W/K m2]
I confirm that the published BER referenced on page 1 of this form accurately reflects the current condition of this dwelling* | YES | Current value of HLI. Taken from DEAP calculation of published BER referenced on page 1 of this form [X.XX] *
NO
BER referenced on page 1 of this form was published by (a) me, or (b) another BER Assessor* | (a) | Projected HLI following upgrade works recommended in this form. Must be <=2.3, where applicable, otherwise identify more upgrades [X.XX] *
(b)
Technical Advisor Responsibilities
As part of this Technical Assessment, I have: • ensured all information in this form is correct and have adhered to SEAI's guidance and requirements for Technical Advisors • advised the homeowner on the current level of thermal performance of the dwelling and on the level required to qualify, where applicable, for the heat pump system grants offered by the SEAI Better Energy Programme • advised the homeowner that the heat pump system may need a different heat distribution system than the current one and that the heat pump contractor must carry out a whole system design • advised the homeowner in relation to the energy performance of their home and discussed possible improvement to the fabric, ventilation, heating and hot water systems, lighting and operational aspects. • adhered to the independence requirements for Technical Advisors in carrying out a Technical Assessment of this dwelling. • advised the Homeowner that for houses with a valid BER with a compliant HLI or for houses built from 2007 onward, the Technical Assessment is not a mandatory requirement in order to avail of a heat pump system grant. • advised the Homeowner that for houses built from 2007 onward, where they have elected to carry out a Technical Assessment, identified fabric upgrades are not mandatory but advisable and the benefits of same are clearly outlined. If the current building Heat Loss Indicator is higher than 2.3, I have: • discussed possible fabric improvement options with the homeowner and taking into account technical aspects, cost and homeowner’s preference, I have recommended the most suitable solution as proposed works. I have provided the homeowner with a report explaining different options to help them select the best approach to meeting the HLI, where applicable. • ensured the proposed works are compatible with the requirements for wall and roof insulation grants, if applicable, or otherwise clarified this with the homeowner • specified and detailed the fabric performance corresponding to the proposed works and calculated the corresponding Heat Loss Indicator • advised the homeowner on how to clarify the recommended works with the relevant contractors • advised the homeowner that they need to ask contractors to provide suitable evidence of the works carried out and that they must keep a record of it in order for the works to be reflected in the post-BER • advised the homeowner that in order to qualify for the heat pump grant, where applicable,: o The insulation and window works must achieve the required improvement in the level of thermal performance o The post-BER must reflect all the works carried out
I confirm that the above information is true and correct. As a Technical Advisor, registered with SEAI, I abide by SEAI's requirements for Technical Advisors as detailed on www.seai.ie
Technical Advisor Signature*
Date (dd/mm/yy)*
General Commentary on Technical Assessment and Recommendations*
Please include an outline of the Technical Assessment and Resulting Recommendations here. Any additional useful notes for the homeowners or contractors should be included here and/or in space for additional comments elsewhere in the form.
* denotes mandatory entries. Forms missing these entries will not be accepted
Page 2/4 MPRN: Client:

## Fabric Upgrades
Recommended Insulation Upgrades: Walls, Roofs and Floors
Wall insulation - Proposed wall upgrade *
Wall number | Wall description
Total number of walls to be upgraded | Area of this wall [m2] |  |  | Total dwelling heat loss wall area shown in BER[m2]
Current Wall (as per published BER) |  |  | Proposed Upgrade
Wall type (stone, solid brick, cavity, hollow block etc) |  |  | Proposed additional insulation type (EPS SD, beads in cavity etc)
Wall thickness [mm] |  |  | Proposed additional insulation thickness [mm]
Existing insulation type if known (EPS SD, beads in cavity etc) |  |  | Proposed additional insulation location (internal,external, cavity)
Existing insulation thickness If known [mm] |  |  | Proposed additional insulation thermal conductivity [W/mK]
Existing U-value [W/m2K] |  |  | U-value required after upgrade [W/m2K]
Existing U-value basis. Select DEAP default or non default |  | Non-default | Proposed upgrade meets requirements for BEH wall grant? |  | Yes
|  | Default |  |  | No
Other details/comments (include other info for contractor here)
Roof insulation - Proposed roof upgrade *
Roof number | Roof description
Total number of roofs to be upgraded | Area of this roof [m2] |  |  | Total dwelling heat loss roof area shown in BER [m2]
Current roof (as per published BER) |  |  | Proposed Upgrade
Roof type (pitched with insulation on flat ceiling etc) |  |  | Proposed additional insulation type (mineral fibre etc)
Proposed additional insulation thickness [mm]
Existing insulation type if known (mineral fibre etc) |  |  | Proposed additional insulation location (below rafter etc)
Existing insulation thickness If known [mm] |  |  | Proposed additional insulation thermal conductivity [W/mK]
Existing U-value [W/m2K] |  |  | U-value required after upgrade [W/m2K]
Existing U-value basis. Select DEAP default or non default |  | Non-default | Proposed upgrade meets requirements for BEH roof grant? |  | Yes
|  | Default |  |  | No
Other details/comments (include other info for contractor here)
Floor insulation - Proposed floor upgrade *
Floor number | Floor description
Total number of floors to be upgraded | Area of this floor [m2] |  |  | Total dwelling heat loss floor area shown in BER [m2]
Current floor (as per published BER) |  |  | Proposed Upgrade
Floor type (solid, suspended etc) |  |  | Proposed additional insulation type (EPS SD etc)
Existing insulation type if known (EPS SD etc) |  |  | Proposed additional insulation thickness [mm]
Existing insulation thickness If known [mm] |  |  | Proposed additional insulation location (between floor joists etc)
Existing U-value [W/m2K] |  |  | Proposed additional insulation thermal conductivity [W/mK]
Existing U-value basis. Select DEAP default or non default |  | Non-default | U-value required after upgrade [W/m2K]
Default
Other details/comments (include other info for contractor here)
* denotes mandatory entries. Forms missing these entries will not be accepted
Include additional copies of this sheet if more than one floor/wall/roof
Page 3/4 MPRN: Client:

## Window_door_vent upgrades
Recommended Upgrades for Windows, Doors and Ventilation
Window/door upgrades - Proposed group of window/door upgrades *
Window/door group number |  | Window/door description
Total no. of window/door groups to be upgraded |  | Area of this window/door group [m2] |  |  |  |  | Total heat loss area as shown in BER for all windows+doors [m2]
Current window/door group (as per published BER) |  |  |  |  | Proposed Upgrade
Glazing type (single, double, triple, part glazed door, solid door etc) |  |  |  |  | Proposed glazing type (double, triple etc)
Existing frame type (wooden, PVC, metal) |  |  |  |  | Proposed frame type (wooden, PVC, metal)
Existing glazing gap [mm] |  |  |  |  | Proposed glazing gap [mm]
Existing solar transmittance |  |  |  |  | Proposed solar transmittance
Existing U-value [W/m2K] |  |  |  |  | U-value required after upgrade [W/m2K]
Existing U-value basis. Select DEAP default or non default |  |  | Non-default |  | Orientation(s) in this group |  |  | N | E/W |  | NE/NW
|  |  | Default |  |  |  |  | S | H |  | SE/SW
Other details/comments (include other info for contractor here)
Openings upgrades - Proposed openings changes *
Current openings (as per published BER) |  |  |  |  | Proposed Upgrade
Existing no. of chimneys and flueless fixed combustion heaters |  |  |  |  | Proposed no. of chimneys and flueless fixed combustion heaters
Existing no. of open flues |  |  |  |  | Proposed no. of open flues
Existing number of intermittent fans and passive vents |  |  |  |  | Proposed number of intermittent fans and passive vents
Draught lobby on existing main entrance? |  |  | Yes | no | Draught lobby on proposed main entrance? |  |  |  |  | Yes |  | no
Other details/comments (include other info for contractor here). How are no. openings to be reduced?
Structural air tightness upgrades - Proposed structural air tightness upgrades *
Structure type (masonry etc) |  |  |  |  | No. sheltered sides (0-4)
Current air-tightness (as per published BER) |  |  |  |  | Proposed Upgrade
Existing air tightness test result (q50/20). Enter N/A if none available. [ac/h] |  |  |  |  | What Air tightness test result needed to achieve HLI. Enter N/A if none needed. [ac/h]
Existing % of windows/doors draught stripped [%] |  |  |  |  | Proposed % of windows/doors draught stripped [%]
Are existing wooden ground floors sealed? Enter n/a if none present. |  |  | No | N/A | Are proposed wooden ground floors sealed? Enter n/a if none present. |  |  |  |  | No |  | N/A
|  |  | Yes | [6 empty] | Yes
Measures to improve air tightness and achieve proposed q50/20 (e.g. taping around junctions etc.)
Mechanical ventilation upgrades - Proposed mechanical ventilation upgrades *
Current ventilation method (as per published BER) |  |  |  |  | Proposed Upgrade
Existing whole dwelling ventilation method |  |  | Natural ventilation |  | Proposed whole dwelling ventilation method |  |  |  |  | Natural ventilation
|  |  | Mech. Extract | [6 empty] | Mech. Extract
| Balanced + heat recovery |  | Input from loft |  |  | Balanced + heat recovery |  |  |  | Input from loft
| Balanced no heat recovery |  | Input from outside |  |  | Balanced no heat recovery |  |  |  | Input from outside
Existing ducting if mech. ventilation present |  |  | Rigid | N/A | Proposed ducting if mech. ventilation present |  |  |  |  | Rigid |  | N/A
|  |  | Flexible | [6 empty] | Flexible
Existing specific fan power (SFP) [W/L/s] and heat exch. efficiency[%] for ventilation system. N/A if not relevant |  |  | SFP |  | Proposed specific fan power (SFP) [W/L/s] and heat exch. efficiency[%] for ventilation system. N/A if not relevant |  |  |  |  | SFP
|  |  | Efficiency | [6 empty] | Efficiency
Other details/comments (include other info for contractor here)
* denotes mandatory entries. Forms missing these entries will not be accepted
Page 4/4 MPRN: Client: